## 2019
Insert Location Church Maintenance Plan - Implementation Schedule
Maintenance Issue | Work Req'd | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Work Outsourced | External Company / Volunteer Responsible | Approx Cost | Comment
Pest Control | Spray/Treat | [12 empty] | Yes | XYZ Company Pest Control |  | Annually | bar: Jan
Asbestos (Refer Asbestos Register and Management Plan ) | Check | [12 empty] | No | Property Maintenance Manager |  | Annually - Action as stated in the plan | bar: Sep
Asbestos Audit Review | 5 Yearly | [12 empty] | Yes | XYZ Company or Competent Internal Personnel (Due Sept 2020) |  | 5 Yearly -Last completed - Sept 2015 | bar: Sep
Exterior of Buildings
Sign Hoist Mechanism | Lubricate | [12 empty] | No | Volunteer |  | Monthly
Sign Hoist Structure & Mechanism | Service | [12 empty] | Yes | XYZ Company Sign Systems |  | Annually | bar: Jun
External Padlocks & Hinges | Lubricate | [12 empty] | No | Volunteer |  | Monthly
Check Gutters & Downpipes | Clean | [12 empty] | Yes/No | Volunteer - pending heights |  | Monthly and/or Bi Monthly | bar: Jan to Mar; May; Jul; Sep; Nov to Dec
Trees & Shrubs | Pruning | [12 empty] | Yes/No | Volunteer - pending heights |  | Quarterly | bar: Feb; May; Aug; Nov
Gutter Guard | Check | [12 empty] | Yes/No | Volunteer - pending heights |  | Annually | bar: Oct
Soffit & Eaves | Check | [12 empty] | Yes/No | Volunteer - pending heights |  | Annually | bar: Oct
Windows Operation/Damage | Check | [12 empty] | No | Property Maintenance Manager |  | Annually | bar: Oct
Window Sliding Tracks | Cleaning | [12 empty] | No | Property Maintenance Manager |  | Annually | bar: Oct
Doors Operation/Damage | Check | [12 empty] | No | Property Maintenance Manager |  | Annually | bar: Oct
Building Attachments | Check | [12 empty] | No | Property Maintenance Manager |  | Annually | bar: Oct
Paved & Cemented Areas | Check | [12 empty] | No | Property Maintenance Manager |  | Annually | bar: Oct
Signs - Paint or Damage | Check | [12 empty] | No | Property Maintenance Manager |  | Annually | bar: Oct
Air Conditioners on Church Roof | Check | [12 empty] | No | Volunteer |  | Annually | bar: Oct
Playground Equipment | Check | [12 empty] | No | Property Maintenance Manager |  | Quarterly | bar: Feb; May; Aug; Nov
Interior of Buildings
Water Leaks/Plumbing | Check | [12 empty] | No | Volunteer |  | Quarterly | bar: Feb; May; Aug; Nov
Toilet Systems/Flushing | Check | [12 empty] | No | Property Maintenance Manager |  | Quarterly | bar: Feb; May; Aug; Nov
Floor Surfaces.Carpets | Check | [12 empty] | No | Property Maintenance Manager |  | Annually | bar: Jan
Walls & Fixtures | Check | [12 empty] | No | Volunteer |  | Annually | bar: Jan
Furniture & Building Contents | Check | [12 empty] | No | Volunteer |  | Annually | bar: Jan
Air Conditioner Filters | Cleaning | [12 empty] | Yes/No | Property Maintenance Manager |  | Six Monthly | bar: Mar; Sep
Air Conditioner Drains | Check | [12 empty] | No | Volunteer |  | Annually | bar: Mar
Range Hood Filters | [13 empty] | No | Property Maintenance Manager |  | Annually | bar: Mar
Heavy Rain or Storm (Damage)
Ceilings & Verandas etc | Check | [12 empty] | Yes/No | Property Maintenance Manager |  | As Required - outsource
Building & Windows | Check | [12 empty] | Yes/No | Property Maintenance Manager |  | As Required - outsource
Trees- Branches - Foliage | Check | [12 empty] | Yes/No | Property Maintenance Manager |  | As Required - outsource
Lighting
External Security Lights | Check | [12 empty] | No | Volunteer |  | Monthly
Internal & Exit Lights | Check | [12 empty] | No | Volunteer |  | Monthly
Grease Traps
Church Hall Grease Trap | Service | [12 empty] | Yes | XYZ Liquid Waste Services |  | Annually | bar: Jul
Fellowship Centre Grease Trap | Service | [12 empty] | Yes | XYZ Liquid Waste Services |  | Annually | bar: Jul
ELCB & RCD Circuit Breakers
ELCB/RCD Breaker Switch Testing | Test | [12 empty] | No | Chief Fire Warden |  | Monthly
ELCB/RCD Breaker Switch Testing | Check | [12 empty] | Yes | Electrician |  | Bi - Annual - Due xx Date | bar: Jul
Fire/Safety Equipment/Training
All Fire/Emergency Equipment | Check | [12 empty] | No | Chief Fire Warden |  | Monthly
Fire Extinguishers & Equipment | Inspect & Tag | [12 empty] | Yes | XYZ company |  | Six Monthly | bar: Jan; Jul
Fire Safety Signs | Check | [12 empty] | No | Chief Fire Warden |  | Monthly
Fire Safety Training | Instruction | [12 empty] | No | Chief Fire Warden |  | Annually and on Inductions - Record | bar: Jul
Fire Safety Training | Drill | [12 empty] | No | Chief Fire Warden |  | Annually - Record | bar: Mar
Emergency Exit Lighting | Check | [12 empty] | No | Chief Fire Warden |  | Monthly
Emergency Exit Lighting | Check | [12 empty] | Yes | XYZ company |  | Six Monthly | bar: Jan; Jul
Smoke Alarms - Church
Smoke Alarms (Battery Operation) | Testing | [12 empty] | No | Chief Fire Warden |  | Monthly Test - Annually replace Battery
Smoke Alarms (Smoke Operation) | Testing | [12 empty] | Yes | XYZ company |  | Annually | bar: Jul
Smoke Alarm Test Register Update | Inspect | [12 empty] | No | Chief Fire Warden |  | Monthly
Smoke Alarms - Manse
Smoke Alarms (Battery Operation) | Testing | [12 empty] | Yes | Manse Tenants |  | Monthly - Annually replacce Battery
Manse Smoke Alarms (Smoke Op) | Testing | [12 empty] | No | Chief Fire Warden |  | Annually | bar: Jul
Smoke Alarm Test Register Update | Inspect | [12 empty] | No | Chief Fire Warden |  | Annually | bar: Jul
Manse Checking Proceedures
Property Maintenance Check | Inspection | [12 empty] | No | Property Maintenance Manager |  | Six Monthly | bar: Mar; Sep
ELCB & RCD Test Switch Activation | Activate | [12 empty] | Yes | Manse Tenants |  | Monthly
ELCB & RCD Test Switch Activation | Check | [12 empty] | Yes | Electrician |  | Annually | bar: Jul
First Aid Kits
Restock, check expiry dates | Inspection | [12 empty] | No | Property Maintenance Manager |  | Six Monthly | bar: Mar; Sep
Church Reports
Fire Safety Report | Resource Team | [12 empty] | No | Chief Fire Warden |  | Annually | bar: Jan
Security Report | Resource Team | [12 empty] | No | Security Officer |  | Annually | bar: Jan
Property Maintenance Inspection Report | Resource Team | [12 empty] | No | Property Maintenance Manager |  | Annually | bar: Jan
Qld Synod Office Inspection Report | Inspection | [12 empty] | Yes | Synod Office Inspection Representative |  | Tri - Annual - Due xx Date
Resource Provided by Glebe Ipswich Uniting Church